PERMIT RATIONALE FOR REISSUANCE
M and S Mobile Home Park
Rankin County
Pearl, Mississippi
Water NPDES No. MSU211010
May 2016

I.	FACILITY INFORMATION

Facility Name:  M and S Mobile Home Park
Facility Address: 150 Geolety Drive 
Pearl, MS  39208    
Prentiss, 
Permit No.:  MSU211010
SIC:  6515
Permit Writer:  Amber Heggie
EPD Branch:  Municipal and Private Facilities Branch

II.	CLASSIFICATION – Commercial State Operating Permit (SOP)

III.	DESCRIPTION OF WASTEWATER – Domestic Wastewater

IV.	DESCRIPTION OF WASTEWATER TREATMENT – Domestic wastewater is collected and treated by aerobic treatment units.  The treated effluent is then disinfected by chlorination before being land applied via spray irrigation.  The proposed treated effluent flow is 0.004 MGD with no discharge to surface waters described within the application.  

V.	RECEIVING WATERS – None, No discharge to surface waters is described within the application.  

VI.	APPLICABLE GUIDELINES – 11  Mississippi Admin Code Pt 6 Ch 1

VII.	SUMMARY OF LIMITATIONS – None, No discharge to surface waters is described within the application.  

	The wastewater treatment and disposal system for this project must protect water quality. 	 	This permit is subject to modification if future evidence, monitoring results, or other 	information indicates that surface water quality is being adversely affected.  This permit 	may be modified to require monitoring of surface water if needed to ensure that water 	quality is being protected.  

	Operation of the wastewater treatment and disposal system for this project shall cease and 	connection made to a regional or municipal sewer system when available in the area.