PERMIT RATIONALE FOR REISSUANCE
Trueway Landmark Baptist Church
Forrest County
Hattiesburg, Mississippi
Water NPDES No. MSU040146
05/31/2016

I.	FACILITY INFORMATION

Facility Name:  Trueway Landmark Baptist Church
Facility Address:  2425 US Highway 49 South 
Hattiesburg, MS  39401    
Purvis, 
Permit No.:  MSU040146
SIC:  8661
Permit Writer:  Morgan Cowles
EPD Branch:  Municipal and Private Facilities Branch

II.	CLASSIFICATION – Domestic Wastewater Disposal System State Operating Permit-No Discharge. 

II.	DESCRIPTION OF WASTEWATER – Domestic Wastewater

III.	DESCRIPTION OF WASTEWATER TREATMENT – Domestic wastewater is collected and treated by a septic tank followed by land application via drain field. 

IV.	RECEIVING WATERS – None – No discharge to surface waters is described within the application.  

V.	APPLICABLE GUIDELINES – State of Mississippi Wastewater Regulations, 11                           Mississippi Admin PT 6 CH 1. 

VI.	SUMMARY OF LIMITATIONS – None – No discharge to surface waters is described within the application.

The wastewater treatment and disposal system for this project must protect water quality. This permit is subject to modification if future evidence, monitoring results, or other information indicates that ground water or surface water quality is being adversely affected.  This permit may be modified to require monitoring of ground or surface water if needed to ensure that water quality is being protected.  

Operation of the wastewater treatment and disposal system for this project shall cease and connection made to a regional or municipal sewer system when available in the area.