Title: PERMIT RATIONALE
Author: Preferred Customer
Last saved by: CARTER CRESS
Company: Dell Computer Corporation

PERMIT RATIONALE FOR ISSUANCE
Moments Funeral Home LLC
George County
Lucedale, Mississippi
Water NPDES No. MSU217002
February 2017

I.	FACILITY INFORMATION

Facility Name:  	Moments Funeral Home LLC

Facility Address:  	7158 Highway 63 South 
	Lucedale, MS  39452    
Lucedale, 
Permit No.:  		MSU217002

SIC Code:  		7261

Permit Writer:  	Carter Cress

EPD Branch:  		Service and Miscellaneous Industries Branch

II.	NATURE OF BUSINESS

This facility is a funeral home.  It has applied for a SOP – No Discharge water permit for their process wastewater from preparatory and embalming operations only.   

III.	EFFLUENT AND RECEIVING STREAM FLOW DATA

The permit is to operate a No Discharge wastewater collection and holding system.  The wastewater is to be periodically pumped and hauled to a permitted wastewater disposal treatment facility.  

IV.	303(d) ISSUES

None.  

V.	TYPE OF WASTEWATER TREATMENT:

The wastewater holding tank will be cylindrical with a height of 8' 0" and width of 5' 6".  The maximum capacity will be 1,450 gallons.  It will be located in the facility’s embalming room.      

VI.	EPA APPLICABLE CATEGORICAL GUIDELINES

Not applicable.  
 
VII.	CATEGORICAL GUIDELINE LIMITATIONS CALCULATIONS

Not applicable.  

VIII.	TOXICITY SCREENING

Not applicable.  

IX.	PROPOSED FINAL LIMITATIONS 

The following recordkeeping requirements have been added to the boilerplate “no discharge” requirements:

“The permittee shall maintain, on site, a copy of each wastewater disposal invoice or manifest.”  [11 Miss. Admin. Code Pt. 6, Ch. 1, Subch. 1.] 

“The permittee shall maintain a written log on site, including but not limited to, the following information:

(1) Date the preparatory/embalming wastewater holding tank is serviced;

(2) Name of the Licensed Disposal Company providing pumping and hauling service;

(3) Volume of wastewater disposed;

(4) Name of the permitted wastewater treatment facility receiving the wastewater.”  [11 Miss. Admin. Code Pt. 6, Ch. 1, Subch. 1.]  

IX.	BJ STATEMENT: 

It is our Best Judgment that the foregoing information is consistent with all applicable State and Federal requirements.

71183 PER20170001