PERMIT RATIONALE FOR REISSUANCE
T and R Management LLC, Robert E Smith Trailer Park
Forrest County
Hattiesburg,, Mississippi
Water NPDES No. MSU095326
April 2017

I.	CLASSIFICATION – Commercial State Operating Permit (SOP)

II.	DESCRIPTION OF WASTEWATER – Domestic Wastewater

III.	DESCRIPTION OF WASTEWATER TREATMENT – Domestic wastewater is collected and treated by means of septic tank and rock/reed filtration system before being land applied.  The treatment capacity is 0.0018 MGD with no increase in treatment capacity proposed.  

IV.	RECEIVING WATERS – None, No discharge to surface waters is proposed within the application.  

V.	APPLICABLE GUIDELINES – State of Mississippi Wastewater Regulations, WPC – 1 

VI.	SUMMARY OF LIMITATIONS – None, No discharge to surface waters is proposed within the application. 

	The wastewater treatment and disposal system for this project must protect water quality.  	This permit is subject to modification if future evidence, monitoring results or other 	information indicates that surface water quality is being adversely affected.  This permit 	may be modified to require monitoring of surface water if needed to ensure that water 	quality is being protected.  

	Operation of the wastewater treatment and disposal system for this project shall cease and 	connection made to a regional or municipal sewer system when available in the area.