PERMIT RATIONALE FOR REISSUANCE
Four County Gin Inc
Calhoun County
Calhoun City, Mississippi
Water NPDES No. MSU020136
July 13, 2017

I.	CLASSIFICATION – Domestic SOP

II.	DESCRIPTION OF WASTEWATER – Collection and treatment of domestic wastewater generated by a boardinghouse.  

III.	DESCRIPTION OF WASTEWATER TREATMENT – Treatment is to be provided by a 1000 gal septic tank with absorption field and a 500 gal/day ATU with land application no discharge system. The design capacity for both systems combined is 1500 gpd.

IV.	RECEIVING WATERS – None. No Discharge System

V.	APPLICABLE GUIDELINES – 11 MS Admin Code pt. 6