PERMIT RATIONALE FOR REISSUANCE
Bluff Creek Campgrounds Inc
Jackson County
Vancleave, Mississippi
Water NPDES No. MSU099063
December 15, 2017

I.	CLASSIFICATION – Domestic SOP

II.	DESCRIPTION OF WASTEWATER – Domestic Wastewater

III.	DESCRIPTION OF WASTEWATER TREATMENT – Domestic wastewater is collected and treated via an aerated lagoon followed by land application via spray irrigation. Capacity for the system is 7,500 gallons per day. No increase in treatment capacity is proposed within the application.

IV.	RECEIVING WATERS – None. No Discharge System

V.	APPLICABLE GUIDELINES – State of Mississippi Water Quality Criteria

VI.	SUMMARY OF LIMITATIONS – None – No discharge

Operation of the wastewater treatment and disposal system for this project shall cease and connection made to a regional or municipal sewer system when available in the area

The wastewater treatment and disposal system for this project must protect water quality. The permit is subject to modification if future evidence, monitoring results, or other information indicates that groundwater or surface water quality is being adversely affected. This permit may be modified to require monitoring of ground water or surface water if needed to ensure that water quality is being protected.