PERMIT RATIONALE FOR REISSUANCE
Weekend Cabin Inc,
Circle 7 Compound
Pike County
McComb, Mississippi
Water NPDES No. MSU098032
January 2018

I.	CLASSIFICATION – Domestic SOP
 
II.	DESCRIPTION OF WASTEWATER – Domestic Minor

III.	DESCRIPTION OF WASTEWATER TREATMENT – Domestic wastewater is collected and treated by means an aerobic treatment unit (ATU) followed by disinfection before being applied to the land via an absorption field.  No increase in treatment capacity is proposed within the application.  No discharge to surface waters is described within the application.  

IV.	RECEIVING WATERS – None - No discharge to surface waters is described within the application.  

V.	APPLICABLE GUIDELINES – 11 MS Admin Code pt. 6

VI.	SUMMARY OF LIMITATIONS – None – No Discharge

Operation of the wastewater treatment and disposal system for this project shall cease and connection made to a regional sewer system when available in the area.

The wastewater treatment and disposal system for this project must protect water quality. This permit is subject to modification if future evidence, monitoring results, or other information indicates that surface water quality is being adversely affected. This permit may be modified to require monitoring of surface water if needed to ensure that water quality is being protected.