PERMIT RATIONALE FOR REISSUANCE
C L C Enterprises LLC, Chesterville Ridge
Lee County
Tupelo, Mississippi
Water SOP No. MSU040104
June 2018

I.	CLASSIFICATION – Domestic State Operating Permit (SOP)

II.	DESCRIPTION OF WASTEWATER – Domestic

III.	DESCRIPTION OF WASTEWATER TREATMENT – Domestic wastewater is collected and treated by an aerobic treatment unit (ATU) for each duplex apartment followed by chlorine disinfection before being land applied via spray irrigation.  

IV.	RECEIVING WATERS – None, No discharge to surface waters is proposed within the application.  

V.	APPLICABLE GUIDELINES – 11 Mississippi Admin Code pt. 6

VI.	SUMMARY OF LIMITATIONS – None, No discharge to surface waters is proposed within the application.  

The wastewater treatment and disposal system for this project must protect water quality. This permit is subject to modification if future evidence, monitoring results, or other information indicates that ground water or surface water quality is being adversely affected. This permit may be modified to require monitoring of ground or surface water if needed to ensure that water quality is being protected.  

Operation of the wastewater treatment and disposal system for this project shall cease and connection made to a regional or municipal sewer system when available in the area.