PERMIT RATIONALE FOR REISSUANCE
Resort Properties, LLC, Roundabout RV Resort
Lafayette County
Oxford, Mississippi
Water NPDES No. MSU224003
March 2024

I.	FACILITY INFORMATION

Facility Name:  Resort Properties, LLC, Roundabout RV Resort
Facility Address:  Mississippi Highway 6 West 
 Oxford, MS  38655    
Oxford, 
Permit No.:  MSU224003
Permit Writer:  Christiana Boren
EPD Branch:  Municipal and Private Facilities

II.	CLASSIFICATION – Commercial State Operating Permit (SOP)

III.	DESCRIPTION OF WASTEWATER – Domestic Wastewater

IV.	DESCRIPTION OF WASTEWATER TREATMENT – The wastewater treatment system designed to accommodate Roundabout RV Resort is for 25,000 gallons per day. Sewage is treated biologically by AquaTech Systems, BioTank Treatment System, which utilizes a combination of floating media and fixed media for treatment. Treated wastewater is then pumped to the land application area, where the wastewater is disposed of by means of subsurface drip.
 
V.	RECEIVING WATERS – None. No Discharge to Surface Waters

VI.	APPLICABLE GUIDELINES – 11 Mississippi Admin Code pt. 6

VII.	SUMMARY OF DISCHARGE LIMITATIONS – None. No Discharge System

The wastewater treatment and disposal system for this project must protect water quality. This permit is subject to modification if future evidence, monitoring results, or other information indicates that surface water quality is being adversely affected.  This permit may be modified to require monitoring of surface water if needed to ensure that water quality is being protected.