PERMIT RATIONALE FOR REISSUANCE
Walthall County Public Schools, Dexter School
Walthall County
Tylertown, Mississippi
Water NPDES No. MSU098186
May 7, 2013

I.	FACILITY INFORMATION

Facility Name:  Walthall County Public Schools, Dexter School
Facility Address:  927 Highway 48 East 
Tylertown, MS  39667    
Tylertown, 
Permit No.:  MSU098186
SIC:  8211, Elementary and secondary schools
Permit Writer:  Greg Burgess 
EPD Branch:  Municipal and Private Facilities Branch

II.	CLASSIFICATION – Domestic No-Discharge - SOP

III.	DESCRIPTION OF WASTEWATER – The wastewater treated is domestic wastewater generated by Dexter School.     

IV.	DESCRIPTION OF WASTEWATER TREATMENT – The wastewater treatment and disposal is accomplished through a septic tank followed by an absorption field.    

V.	RECEIVING WATERS – N/A - No Discharge System

VI.	APPLICABLE GUIDELINES – State of Mississippi Wastewater Regulations (WPC-1)