PERMIT RATIONALE FOR REISSUANCE
Sodoma Properties LLC, Russell Mobile Home Park
Lauderdale County
Meridian, Mississippi
Water NPDES No. MS0042633
February 2023

I.	CLASSIFICATION –NPDES Commercial

II.	DESCRIPTION OF WASTEWATER –Domestic

III.	DESCRIPTION OF WASTEWATER TREATMENT – Domestic wastewater is collected and treated via an aerated lagoon.  

IV.	RECEIVING WATERS – Unnamed Tributary of Nanabe Creek.  Nanabe Creek does not appear on the current 303(d) List of Impaired Waterbodies nor has a TMDL been conducted for this receiving stream. This waterbody is in the Pascagoula River drainage basin.  Nanabe Creek is classified as Fish and Wildlife.

V.	APPLICABLE GUIDELINES – 11 Mississippi Admin Code pt. 6, Commercial Facility Guidelines (Technology), State of Mississippi Water Quality Criteria (MSWQS)

VI.	SUMMARY OF DISCHARGE LIMITATIONS – 

Parameter		Value					Basis
Flow			0.01 MGD				Design
BOD			30 mg/l				Technology
TSS			60 mg/l				Technology
E. Coli			126 Col./100mL			MSWQS
Effluent pH		6.0 to 9.0 S.U.				MSWQS
Chlorine		0.1 to 1.0 mg/l				Technology

VII.	CHANGES FROM PREVIOUS PERMIT –

             No Change