PERMIT RATIONALE FOR REISSUANCE
North East Mississippi Electric Power Association
Water NPDES No. MS00385473
Thomas Kelly, Water I Branch
March 22, 2023

Public Notice Draft
Date: 03/22/2023

I.	FACILITY INFORMATION

Facility Name:  North East Mississippi Electric Power Association
Facility Address:  10 Private Road 2050, Oxford, MS  38655    
EPA ID:  110022886386
SIC:  4931

II.	NATURE OF BUSINESS

Electric Power Distribution.  This facility is classified as an NPDES Commercial Source.

III.	EFFLUENT AND RECEIVING STREAM FLOW DATA

Outfall 001:  Effluent consists of treated domestic wastewater. The outfall discharges to an unnamed creek (7Q10 = 0 cfs) and thence to Hurricane Creek.  The receiving waters are located in the Yazoo River Basin and are classified as “Fish and Wildlife”. 

IV.	303(d) and TMDL ISSUES

None.

V.	TYPE OF WASTEWATER TREATMENT:

Domestic wastewater is collected and treated via a septic tank and sand filter followed by disinfection by chlorination.

VI.	APPLICABLE GUIDELINES

11 Miss. Admin Code Pt. 6, Ch.1 and Ch. 2.

VII.	STATEMENT OF BASIS: 

It is our technical judgement that the foregoing limitations represent 11 Miss. Admin. Code Pt.6, Ch. 1 and 2 (MSWQC), and Technical Judgment (TJ).

VII.	PROPOSED FINAL LIMITATIONS 	

1.	Average Permit Limitations

2.	Maximum Permit Limitations

                  1Basis: MSWQC = Mississippi Water Quality Criteria, PPL = Previous Permit Limits, TJ = Technical Judgment.