PERMIT RATIONALE FOR ISSUANCE
Lamar County School District, Sumrall High School
Lamar County
Sumrall, Mississippi
Water NPDES No. MSU225002
February 26, 2025

I.	FACILITY INFORMATION

Facility Name:  Lamar County School District, Sumrall High School
Facility Address:  Highway 44 
 Sumrall, MS  39482    
Purvis, 
Permit No.:  MSU225002
Permit Writer:  Sandeepa Gill
EPD Branch:  Municipal and Commercial Wastewater Division 

II.	CLASSIFICATION – Commercial State Operating Permit (SOP)

III.	DESCRIPTION OF WASTEWATER – Domestic Wastewater

IV.	DESCRIPTION OF WASTEWATER TREATMENT – The wastewater treatment system designed to accommodate Sumrall High School is for 22,500 gallons per day. Wastewater is treated by aeration lagoon followed by chlorine disinfection thence land application disposal by spray irrigation. 
 
V.	RECEIVING WATERS – None. No Discharge to Surface Waters

VI.	APPLICABLE GUIDELINES – 11 Mississippi Admin Code pt. 6

VII.	SUMMARY OF DISCHARGE LIMITATIONS – None. No Discharge System

The wastewater treatment and disposal system for this project must protect water quality. This permit is subject to modification if future evidence, monitoring results, or other information indicates that surface water quality is being adversely affected.  This permit may be modified to require monitoring of surface water if needed to ensure that water quality is being protected.