PERMIT RATIONALE FOR REISSUANCE
Gerald F Wiese, Natchez Trace RV Camp
Lee County
Shannon, Mississippi
Water NPDES No. MS0046400
October 17, 2025

I.	CLASSIFICATION – Domestic NPDES Minor

II.	DESCRIPTION OF WASTEWATER – Domestic Wastewater

III.	DESCRIPTION OF WASTEWATER TREATMENT – Domestic wastewater collected by the Natchez Trace RV Camp is treated by use of a septic tank followed by sand filtration. No increase in treatment capacity is proposed within the application.

IV.	RECEIVING WATERS – An unnamed creek thence into Tubbalubba Creek.  Tubbalubba Creek does not appear on the current State of Mississippi 303(d) List of Impaired Waterbodies. The discharge does not appear on any completed TMDLs. The receiving stream is located within the Tombigbee River basin and classified as Fish and Wildlife. Only one discharge is described within the application with no increase in flow proposed. 

V.	APPLICABLE GUIDELINES – 11 Miss. Admin. Code Pt. 6, MS Water Quality Standards (MSWQS) Commercial Guidelines (Technology)

VI.	SUMMARY OF LIMITATIONS – 

Parameter		Value						 Design
Flow			0.001 MGD					Design
BOD5			30 mg/l (Monthly Avg.)			Technology
TSS			30 mg/l (Monthly Avg.)			Technology
E. Coli			126 Col./100ml (Monthly Avg.)		Technology
Chlorine		0.1-1.0 mg/l					Technology
pH			6.0 to 9.0 S.U					MSWQS