Public Notice

Mississippi Environmental Quality Permit Board

P. O. Box 2261 | Jackson, MS 39225

515 East Amite St. | Jackson, MS 39201

Telephone No. (601) 961-5171

Public Notice Start Date: August 19, 2026	MDEQ Contact: Tye Gardner

Clarksdale Public Utilities, Lewis L Wilkins Generating Station, located at 240 Hicks Street, in Clarksdale, MS, (662) 627-8415, has applied to the Mississippi Department of Environmental Quality (MDEQ) for the following permitting action(s): Reissuance of NPDES Permit Ref. No. MS0001139. The applicant's operations fall within SIC Code 4911.  The facility is a 52 MW combined cycle electric power generation facility. The NPDES permit would continue to authorize the discharge of wastewater into an unnamed ditch thence into the Big Sunflower River, located in the Yazoo River Basin. Clarksdale Public Utilities discharge once through cooling water, boiler blowdown, and low volume wastewater through three (3) existing internal outfalls and two (2) existing external outfalls. The low volume waste from Internal Outfall 101 includes boiler blowdown and noncontact cooling water from the Unit No. 7 condenser. The low volume waste from Internal Outfall 201 includes No. 6 HRSG boiler blowdown. These waste streams discharge into Unit No. 6 and Unit No. 7 discharge pits and then to External Outfall 001. The low volume waste from Internal Outfall 102a includes demineralizer waste water. The low volume waste from Internal Outfall 102b includes No. 9 HRSG blowdown, noncontact cooling water from the air compressor, and wastewater from floor drains. These waste streams discharge into Unit No. 9 discharge pit and then to External Outfall(s) 002 and 001. This facility is classified as an NPDES minor source.

A Statement of Basis has been prepared that contains a discussion of the decision-making that went into the development of the permit and provides the permitting authority, the public, and other government bodies a record of the technical issues surrounding issuance of the permit. The Statement of Basis also addresses any changes to emissions and/or discharges resulting from any modification of the facility.

The staff of the Permit Board has developed this draft permit based on information submitted to the Permit Board by the applicant, appropriate State and Federal agencies and other interested parties. The staff of the Permit Board is soliciting all relative information pertaining to the proposed activity, including public comment, to ensure the draft permit complies with all State and Federal regulations. Public review and comment on the draft permit and supporting documentation is an important element in the staff evaluation and its consideration of key aspects of the permit action. The draft permit conditions have been developed to ensure compliance with all State and Federal regulations but are subject to change based on information received as a result of public participation.

Persons wishing to comment upon or object to the proposed determinations are invited to submit comments in writing to Tye Gardner at https://www.mdeq.ms.gov/gardner-tye/ or to the Permit Board address shown above, no later than the end of the thirty (30) day public notice. All comments received by this date will be considered in the formulation of final determinations regarding the application(s).  A public hearing will be held if the Permit Board finds a significant degree of public interest in the proposed permit(s). Persons wishing to request a public hearing may do so by submitting that request in writing to Tye Gardner at https://www.mdeq.ms.gov/gardner-tye/ or to the Permit Board address shown above.  The Permit Board is limited in the scope of its analysis to environmental impact.  Any comments relative to zoning or economic and social impacts are within the jurisdiction of local zoning and planning authorities and should be addressed to them.

Additional details about the application, including a copy of the draft permit, are available by writing or calling the Public Records Request Officer at the above Permit Board address and telephone number or by completing the form at the following website:  https://www.mdeq.ms.gov/about-mdeq/public-records-request/public-records-request-form/.  Additionally, a copy of the draft permit and statement of basis may be found on the MDEQ’s website at: https://opc.deq.state.ms.us/publicnotice.aspx . This information is also available for review at the office of the MDEQ at the Permit Board address shown above during normal business hours. Please bring the foregoing to the attention of persons whom you know will be interested.